## Data
SATS Food Solutions (Thailand) Co., Ltd.
MYCOM Compressor 02
Compressor report
Datetime: 2025-11-27 SamplingRate: 60 Minute
-1 | 1 | [13 empty] | COMP01
| SUCTION |  | DISCHARGE |  | INTERMEDIATE |  | OIL |  | DIFFERENTIAL |  |  | SUPERHEAT |  |  | COMPRESSOR |  |  |  |  | REMARK
TIME | SP. | ST. | DP. | DT. | IP. | IT. | OP. | OT. | FP. | OP. | P. | SSH | DSH | ISH | LSV | HSV | CURRENT | FRQ | RUNTIME
(hh:mm:ss) | kg/cm² | oC | kg/cm² | oC | kg/cm² | oC | kg/cm² | oC | kg/cm² | kg/cm² | kg/cm² | K | K | K | % | % | Amp. | Hz | Hr. |  | Time | Use kWh
00:00:00 | 0.52 | 23 | 7.7 | 28.6 | 7.7 | 20.6 | 7.7 | 26.4 | 0.1 | 0 | -0.1 | 47.9 | 8.6 | 0.6 | 0.1 | 0 | 0 | 0 | 57 |  | 00:00
01:00:00 | 0.63 | 22.7 | 7.5 | 27.7 | 7.6 | 20.8 | 7.6 | 25.9 | 0 | 0.1 | -0.1 | 46.2 | 8.4 | 1.4 | 0.1 | 0 | 0 | 0 | 57 | 2 | 01:00 | 0
02:00:00 | 0.73 | 22.5 | 7.4 | 27 | 7.4 | 20.8 | 7.4 | 25.3 | 0.1 | 0 | -0.1 | 44.6 | 8.1 | 1.9 | 0.1 | 0 | 0 | 0 | 57 | RUNTIME TODAY (Hr) | 02:00 | 0
03:00:00 | 0.84 | 22.2 | 7.3 | 26.5 | 7.3 | 20.9 | 7.3 | 25 | 0.1 | 0 | -0.1 | 42.9 | 7.9 | 2.3 | 0.1 | 0 | 0 | 0 | 57 |  | 03:00 | 0 | -0.04
04:00:00 | 0.95 | 22 | 7.3 | 25.9 | 7.3 | 20.9 | 7.3 | 24.6 | 0.1 | 0 | -0.1 | 41.5 | 7.6 | 2.5 | 0.1 | 0 | 0 | 0 | 57 |  | 04:00 | 0 | -0.04
05:00:00 | 1.05 | 21.8 | 7.2 | 25.5 | 7.2 | 20.9 | 7.2 | 24.3 | 0.1 | 0 | -0.1 | 40.2 | 7.5 | 2.8 | 0.1 | 0 | 0 | 0 | 57 |  | 05:00 | 0 | -0.04
06:00:00 | 1.15 | 21.6 | 7.1 | 25.1 | 7.1 | 20.8 | 7.2 | 24 | 0.1 | 0.1 | -0.1 | 38.9 | 7.3 | 3 | 0.1 | 0 | 0 | 0 | 57 |  | 06:00 | 0 | -0.03
07:00:00 | 1.26 | 21.4 | 7.1 | 24.7 | 7.1 | 20.6 | 7.1 | 23.7 | 0.1 | 0 | -0.1 | 37.6 | 7 | 2.8 | 0.1 | 0 | 0 | 0 | 57 |  | 07:00 | 0 | -0.04
08:00:00 | 1.35 | 21.3 | 7.1 | 24.7 | 7.1 | 20.8 | 7.2 | 24.1 | 0 | 0.1 | 0 | 36.6 | 6.9 | 2.9 | 0.1 | 0 | 0 | 0 | 57 |  | 08:00 | 0 | 0
09:00:00 | 1.49 | 21.3 | 7.2 | 25.2 | 7.3 | 21.5 | 7.3 | 25.5 | 0 | 0.1 | -0.1 | 35.2 | 6.9 | 3.1 | 0.1 | 0 | 0 | 0 | 57 |  | 09:00 | 0 | -0.03
10:00:00 | 1.63 | 21.6 | 7.4 | 26 | 7.4 | 22.4 | 7.4 | 26.8 | 0.1 | 0 | -0.1 | 34.2 | 7.2 | 3.5 | 0.1 | 0 | 0 | 0 | 57 |  | 10:00 | 0 | -0.03
11:00:00 | 1.75 | 21.8 | 7.4 | 26.9 | 7.4 | 23.2 | 7.4 | 28.1 | 0 | 0 | 0 | 33.4 | 8 | 4.2 | 0.1 | 0 | 0 | 0 | 57 |  | 11:00 | 0 | 0
12:00:00 | 1.87 | 22.1 | 7.6 | 27.8 | 7.6 | 24.1 | 7.6 | 29.2 | 0.1 | 0 | -0.1 | 32.7 | 8.3 | 4.5 | 0.1 | 0 | 0 | 0 | 57 |  | 12:00 | 0 | -0.02
13:00:00 | 1.97 | 22.5 | 7.8 | 28.5 | 7.8 | 24.8 | 7.8 | 29.9 | 0.1 | 0 | -0.1 | 32.2 | 8.3 | 4.6 | 0.1 | 0 | 0 | 0 | 57 |  | 13:00 | 0 | -0.02
14:00:00 | 2.1 | 23 | 7.9 | 29.1 | 7.9 | 25.5 | 8 | 30.4 | 0 | 0.1 | 0 | 31.7 | 8.3 | 4.7 | 0.1 | 0 | 0 | 0 | 57 |  | 14:00 | 0 | 0
15:00:00 | 0.46 | -10.4 | 11.4 | 82.9 | 2.7 | 12.7 | 13.9 | 50.3 | 0.3 | 2.5 | 8.4 | 15.3 | 51.5 | 17.1 | 80.3 | 99.7 | 293 | 60 | 58 |  | 15:00 | 1 | 0.49
16:00:00 | -0.49 | -26.2 | 9.1 | 55.8 | 0.2 | -27.5 | 11.7 | 38 | 0.3 | 2.6 | 8.6 | 19.3 | 31.1 | 2.2 | 72.2 | 99.7 | 147 | 40 | 59 |  | 16:00 | 1 | 3.91
17:00:00 | -0.25 | -5.8 | 8 | 49.7 | 8 | -15.8 | 8 | 38.1 | 0.1 | 0 | -0.1 | 33 | 28.6 | 0 | 0.1 | 0 | 0 | 0 | 59 |  | 17:00 | 0
18:00:00 | -0.12 | 6.3 | 7.6 | 43 | 7.6 | -5.1 | 7.6 | 33.6 | 0.1 | 0 | -0.1 | 42 | 23.4 | 0 | 0.1 | 0 | 0 | 0 | 59 |  | 18:00 | 0
19:00:00 | -0.01 | 10.9 | 7.5 | 39.2 | 7.5 | 1.2 | 7.5 | 30.9 | 0.1 | 0 | -0.1 | 44.4 | 20.1 | 0 | 0.1 | 0 | 0 | 0 | 59 |  | 19:00 | 0
20:00:00 | 0.1 | 13.2 | 7.5 | 36.3 | 7.4 | 7.4 | 7.4 | 29.1 | 0.1 | -0.1 | 0 | 44.7 | 17.2 | 0 | 0.1 | 0 | 0 | 0 | 59 |  | 20:00 | 0
21:00:00 | 0.19 | 14.5 | 7.5 | 33.8 | 7.5 | 10.6 | 7.5 | 27.7 | 0.1 | 0 | -0.1 | 44.4 | 14.7 | 0 | 0 | 0 | 0 | 0 | 59 |  | 21:00 | 0
22:00:00 | 0.3 | 15.1 | 7.4 | 31.8 | 7.5 | 12.6 | 7.5 | 26.7 | 0 | 0.1 | -0.1 | 43.3 | 12.8 | 0 | 0.1 | 0 | 0 | 0 | 59 |  | 22:00 | 0
23:00:00 | 0.39 | 15.6 | 7.3 | 30.1 | 7.3 | 13.8 | 7.3 | 25.9 | 0.1 | 0 | -0.1 | 42.4 | 11.5 | 0 | 0.1 | 0 | 0 | 0 | 59 |  | 23:00 | 0