## Data
SATS Food Solutions (Thailand) Co., Ltd.
Refrigeration System
Refrigeration System report
Datetime: 2025-11-28 SamplingRate: 60 Minute
1900-02-27 | 1900-03-01 | [8 empty] | 2025-11-28 | 1900-02-28 | 0:00 | 23:59 | REFRIG | COMP01
| LOW RECEIVER |  |  | SUCTION TEMP MLF01 |  |  |  | SUCTION TEMP MLF02 |  |  |  | SUCTION TEMP MLF03 |  |  |  | REMARK
TIME | NO.1 | NO.2 | NO.3 | A | B | C | PT | A | B | C | PT | A | B | C | PT
(hh:mm:ss) | oC | oC | oC | oC | oC | oC | kg/cm² | oC | oC | oC | kg/cm² | oC | oC | oC | kg/cm² |  | Time | Use kWh
00:00:00 | -22.9 | -25.2 | -20 | 22.1 | 21.8 | 21.5 | 0.41 | 6.6 | 2.6 | 2.3 | 0.44 | 25 | 25.4 | 25.5 | 0.43 |  | 00:00
01:00:00 | -21.5 | -23.9 | -18.5 | 21.9 | 21.9 | 21.5 | 0.51 | 7.7 | 4.1 | 3.7 | 0.54 | 24.7 | 25 | 25.3 | 0.52 |  | 01:00 | #REF!
02:00:00 | -20.2 | -22.7 | -17.2 | 21.8 | 21.6 | 21.4 | 0.6 | 8.6 | 5.3 | 4.9 | 0.63 | 24.4 | 24.6 | 24.9 | 0.62 |  | 02:00 | #REF!
03:00:00 | -18.9 | -21.8 | -15.9 | 21.6 | 21.6 | 21.3 | 0.67 | 9.4 | 6.5 | 6.1 | 0.71 | 24 | 24.5 | 24.5 | 0.71 |  | 03:00 | #REF! | 0.98
04:00:00 | -17.8 | -20.4 | -14.8 | 21.4 | 21.5 | 21.2 | 0.76 | 10 | 7.4 | 6.9 | 0.81 | 23.8 | 24 | 24.3 | 0.81 |  | 04:00 | #REF! | 0.98
05:00:00 | -16.7 | -19.3 | -13.6 | 21.3 | 21.3 | 21 | 0.86 | 10.6 | 8.2 | 7.7 | 0.9 | 23.4 | 23.6 | 24 | 0.9 |  | 05:00 | #REF! | 0.98
06:00:00 | -15.7 | -18.2 | -12.7 | 21.1 | 21 | 20.8 | 0.95 | 11 | 8.9 | 8.5 | 0.99 | 23 | 23.5 | 23.5 | 0.99 |  | 06:00 | #REF! | 0.98
07:00:00 | -14.7 | -17.2 | -11.6 | 20.8 | 21 | 20.6 | 1.04 | 11.4 | 9.5 | 9.1 | 1.08 | 22.7 | 23 | 23.2 | 1.07 |  | 07:00 | #REF! | 0.98
08:00:00 | -13.7 | -16.2 | -10.7 | 20.7 | 20.7 | 20.5 | 1.14 | 11.8 | 10.1 | 9.7 | 1.18 | 22.4 | 22.7 | 22.9 | 1.17 |  | 08:00 | #REF! | 0.98
10:00:00 | -43.5 | -45 | -44.4 | 19.9 | 20.2 | 19.8 | -0.51 | 11.7 | 11.2 | 10.9 | -0.49 | -44.1 | -44.1 | -44.3 | -0.48 |  | 10:00 | #REF! | 1
11:00:00 | -45.1 | -45.3 | -44.9 | 20.2 | 20.4 | 20 | -0.51 | 12.9 | 12.4 | 11.9 | -0.49 | -43.3 | -42.7 | -35.6 | -0.49 |  | 11:00 | #REF! | 1.22
12:00:00 | -43.2 | -44.1 | -43.4 | 20.4 | 20.7 | 20.3 | -0.42 | 13.1 | 12.8 | 12.5 | -0.39 | -41.6 | -38 | -41.5 | -0.39 |  | 12:00 | #REF! | 1
13:00:00 | -44.7 | -45.2 | -44.9 | 20.5 | 20.9 | 20.4 | -0.53 | 13.9 | 13.8 | 13.4 | -0.49 | -44.4 | -44.2 | -44.7 | -0.49 |  | 13:00 | #REF! | 0.99
14:00:00 | -38.9 | -39.8 | -39 | 21.1 | 21.4 | 20.9 | -0.25 | 14.5 | 14.4 | 13.9 | -0.24 | -38.4 | -37.5 | -35.9 | -0.23 |  | 14:00 | #REF! | 1.07
16:00:00 | -41.6 | -41.9 | -42.7 | 21.6 | 21.7 | 21.2 | -0.47 | 15.9 | 15.9 | 15.4 | -0.44 | -43.1 | -40.7 | -41.5 | -0.44 |  | 16:00 | #REF! | 1.04
17:00:00 | -50 | -50 | -50 | 21.9 | 22.2 | 21.6 | -0.65 | 16.8 | 16.9 | 16.4 | -0.63 | -29.2 | -30.6 | -36.7 | -0.63 |  | 17:00 | #REF! | 0.8

## Volt p-p
Voltage ɸ - ɸ Data analysis

## Volt p-n
Voltage ɸ - N Data analysis

## Current
Current Data analysis

## PF
Power factor Data analysis

## kWh
kWh Data analysis
Summary analysis
▲0 %
#REF!
#REF!
#REF!

## DataAnalysis
Previous Date |  | Raw Data
Start kWh | 0
Stop kWh | 0
Next Day
To Day |  |  | #REF! | 1.22
Start kWh | #REF! |  | #REF! | 0.8
Stop kWh | #REF! |  | #REF! | 1.01
Previous Date Wh | 0
ToDay Wh | #REF!
Compare with yesterday. | 0
TranferWord | ▲0 %
|  |  |  | NameDate | Cal %
TOU Offpeak | Start | Stop | Result | 0 | Off Peak | 0
00:00~09:00 |  |  | 0 | 0
22:00~NextDay 00:00 |  |  | 0
TOU Peak |  |  |  |  | Peak | 0
09:00~22:00 |  |  | 0 | 0