## Data
SATS Food Solutions (Thailand) Co., Ltd.
MLF02
Power meter report
Datetime: 2025-11-20 SamplingRate: 60 Minute
-1 | 1899-12-31
| VOLTAGE | [5 empty] | CURRENT |  |  |  | Power factor |  |  | Frequency | POWER |  |  | E (Into load) | REMARK
TIME | V L1-L2 | V L2-L3 | V L3-L1 | V L1 | V L2 | V L3 | I L1 | I L2 | I L3 | I N | PL1 | PL2 | PL3 |  | P. | Q. | S. | Wh
(hh:mm:ss) | V. | V. | V. | [6 empty] | A. |  |  |  | Hz | kW. | kVAR. | kVA. | kWh. |  | Time | Use kWh | bar: V L1 to CURRENT I L3
00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 00:00
01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1795 | 01:00 | 0
02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Wh TODAY (kWh) | 02:00 | 0
03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 03:00 | 0
04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 04:00 | 0
05:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 05:00 | 0
06:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 06:00 | 0
07:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 07:00 | 0
08:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 08:00 | 0
09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 09:00 | 0
10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10:00 | 0
11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 11:00 | 0
12:00:00 | 399.2 | 401.4 | 399.2 | 229.8 | 231.5 | 231.2 | 1.2 | 1.2 | 1.3 | 0.5 | 0.2 | 0.3 | 0.6 | 50.04 | 0.312 | -0.776 | 0.847 | 1794 |  | 12:00 | 1794 | 0.33
13:00:01 | 395.9 | 398.3 | 395.9 | 227.9 | 229.8 | 229.5 | 1.2 | 1.2 | 1.3 | 0.5 | 0.2 | 0.3 | 0.6 | 49.97 | 0.305 | -0.759 | 0.829 | 1794 |  | 13:00 | 0 | 0.33
14:00:00 | 394.3 | 396.4 | 393.9 | 226.9 | 228.9 | 228.3 | 1.2 | 1.2 | 1.3 | 0.6 | 0.2 | 0.3 | 0.6 | 49.97 | 0.3 | -0.757 | 0.825 | 1795 |  | 14:00 | 1 | 0.33
15:00:00 | 396.9 | 399 | 396.6 | 228.4 | 230.3 | 229.7 | 1.2 | 1.2 | 1.5 | 1.2 | 0.2 | 0.3 | 0.9 | 49.95 | 0.459 | -0.635 | 0.877 | 1795 |  | 15:00 | 0 | 0.22

## Volt p-p
Voltage ɸ - ɸ Data analysis

## Volt p-n
Voltage ɸ - N Data analysis

## Current
Current Data analysis

## PF
Power factor Data analysis

## kWh
kWh Data analysis
Summary analysis
▲0 %
maximum : 1794 kWh
minimum : 0 kWh
average : 120 kWh

## DataAnalysis
Previous Date |  | Raw Data
Start kWh | 0
Stop kWh | 0
Next Day
To Day | 2025-11-20 |  | 1794 | 0.33
Start kWh | 0 |  | 0 | 0.22
Stop kWh | 1795 |  | 119.6667 | 0.275
Previous Date Wh | 0
ToDay Wh | 1795
Compare with yesterday. | 0
TranferWord | ▲0 %
|  |  |  | NameDate | Cal %
TOU Offpeak | Start | Stop | Result | 2025-11-20 | Off Peak | 0
00:00~09:00 |  |  | 0 | 0
22:00~NextDay 00:00 |  |  | 0
TOU Peak |  |  |  |  | Peak | 0
09:00~22:00 |  |  | 0 | 0